
REQUEST FOR QUOTES
6-Inch Water Line Relocation – Valley View Drive to Loveland Drive
Maggie Valley Sanitary District (MVSD) is requesting written quotes from qualified contractors for the relocation of an existing water line from Valley View Drive to Loveland Drive.
Scope of Work
The anticipated work includes, but may not be limited to, the following:
· Approximately 600 linear feet of 6-inch ductile iron water pipe with field-locking gaskets.
· Installation of two (2) 6-inch nut valves.
· Relocation of four (4) ¾-inch water meter services.
· Excavation, installation, bedding, backfill, compaction, and restoration necessary to complete the water line relocation.
· All labor, equipment, materials, fittings, and incidental work necessary to provide a complete and operational installation.
Owner-Supplied Material
MVSD will supply approximately 300 linear feet of 6-inch ductile iron pipe for this project. The contractor's quote should clearly identify any additional pipe, materials, fittings, or other items required to complete the project.
Site Visit
If requested, the exact location and field conditions of the proposed work will be shown to interested contractors prior to submitting a quote.
MVSD will be available to meet with contractors on site to identify the exact location of the proposed water line relocation and discuss the scope of work. Contractors are encouraged to inspect the site and consider existing conditions, access, terrain, utilities, and other factors that may affect the cost of the work before submitting a quote.
Quote Requirements
Please provide a written lump-sum quote for completion of the work described above. The quote should include:
1. Total project price.
2. Estimated time required to complete the work.
3. Any exclusions or assumptions.
4. Identification of materials to be supplied by the contractor.
5. Confirmation that the contractor has reviewed the proposed work location and existing site conditions.
6. Please provide proof of insurance, worker’s compensation and bonds as applicable
The contractor shall be responsible for verifying quantities and site conditions prior to submitting a quote.
Submission
Please submit quotes to:
Maggie Valley Sanitary District
Please email both Karen kbarnett@mvsdh2o.com and Sheila sgahagan@mvsdh2o.com
Please call the District 828-926-0145 and ask for Karen Barnett or Sheila Gahagan.
Quote Due Date: September 1, 2026 at 11:00
Site Visit/Pre-Quote Meeting: If requested, please call Karen or Sheila to arrange
Project Contact: Karen Barnett and Sheila Gahagan
MVSD reserves the right to reject any or all quotes and to select the quote determined to be in the best interest of the District.
Maggie Valley Sanitary District
Date Issued: _______8/26/2026____________


